## Slide 1
PROJECT PRESENTATION
Brain Tumor Classification
Using Deep Learning
Final Results, Evaluation & Live Deployment
Custom CNN • Medical-Grade F2 Evaluation • Streamlit App

## Slide 2
RECAP
The Problem We Set Out to Solve
Brain tumors require early, accurate diagnosis — but manual MRI review is slow and prone to error, especially under high diagnostic workloads. The objective: build a deep learning classifier that sorts an MRI scan into one of four categories, fast and reliably.
Glioma
Meningioma
Pituitary
No Tumor
Four-way classification target
02

## Slide 3
PROJECT EVOLUTION
From Proposal to Delivered Solution
Aspect
Proposed
Delivered
Model Approach
CNN compared against
MobileNetV2 / ResNet50
Custom CNN only — ResNet50 tested,
underperformed at 60–70% accuracy
Normalisation
Standard pixel rescale
Data-driven Z-score normalisation
(per-class pixel analysis)
Primary Metric
Accuracy / Precision / Recall / F1
F2-Score — recall weighted 4×
for medical safety
Tumor Safety Net
Not specified
Confidence-threshold tuning (0.95)
on No-Tumor predictions
Delivery
Trained model + reports
Live Streamlit web application
03

## Slide 4
DATA PIPELINE
Dataset & Duplicate Cleaning
8,745
Raw MRI Images
1,110
Duplicates Removed
7,635
Final Clean Dataset
MD5 content-hashing identified 1,031 duplicate groups — including cross-class duplicates that would have taught the model contradictory labels.
3067
Glioma
3042
Meningioma
968
Pituitary
558
No Tumor
04

## Slide 5
PREPROCESSING
Data-Driven Normalisation
Rather than a blind 1/255 rescale, pixel intensities were sampled across 200 images per class to measure each class's true brightness profile — then used to compute dataset-wide normalisation statistics.
normalised = (image / 255 − μ) / σ
1
μ, σ computed from 800 sampled
MRI pixels (global mean & std per channel)
2
Centres the data — output sits
around 0 with unit variance
3
Matches standard practice used by
ImageNet-pretrained models
05

## Slide 6
ARCHITECTURE
Custom CNN — Built From Scratch
Input
224×224×3
→
Block 1
Conv 32 → BN →
Conv 32 → Pool → Drop 0.25
→
Block 2
Conv 64 → BN →
Conv 64 → Pool → Drop 0.25
→
Block 3
Conv 128 → BN →
Conv 128 → Pool → Drop 0.40
→
Head
GAP → Dense 256 →
Drop 0.50 → Dense 4 (softmax)
~249,000
Trainable Parameters
3
Convolutional Blocks
GAP
not Flatten — fewer params
06

## Slide 7
TRAINING
Training Strategy
AUGMENTATION
• Rotation ±20°
• Width / height shift 15%
• Zoom 15%
• Horizontal flip
• Brightness ±15%
CALLBACKS & BALANCE
• class_weight='balanced'
• EarlyStopping (patience 10)
• ReduceLROnPlateau (factor 0.5)
• ModelCheckpoint (best only)
46
Epochs Run
36
Best Epoch Restored
93.25%
Val. Accuracy
07

## Slide 8
EVALUATION PHILOSOPHY
Why F2-Score for a Medical Model?
Fβ = (1+β²) × (Precision × Recall) / (β²×Precision + Recall) β = 2
False Negative
Model says “No Tumor” —
patient left untreated
False Positive
Model over-flags a healthy
scan — one extra confirmatory scan
→ Recall weighted 4× over precision, plus a 0.95 confidence threshold on “No Tumor” — the model only stays silent when very sure.
08

## Slide 9
RESULTS
Final Model Performance
93.31%
Overall Accuracy
93.29%
Weighted F2-Score
0.95
No-Tumor Threshold
Validated on 1,525 held-out MRI scans, never seen during training
Baseline (argmax): 93.25% accuracy, 93.22% F2 → After threshold tuning: 93.31% / 93.29%
09

## Slide 10
BREAKDOWN
Per-Class Performance
Class
Precision
Recall
F2-Score
Glioma
95%
93%
93.74%
Meningioma
94%
91%
91.23%
No Tumor
96%
97%
97.12%
Pituitary
85%
99%
96.19%
Pituitary: near-perfect recall (99%) — the class-weighting trade-off rarely misses a real case.
10

## Slide 11
DEPLOYMENT
Live Streamlit Application
1
Upload MRI
User uploads a scan
(jpg / png)
→
2
Preprocess
Resized + z-score
normalised — same as training
→
3
Predict
CNN outputs class
probabilities
→
4
Diagnosis Card
Threshold logic → class,
confidence, clinical note
4 matched config files ship together: cnn_final.keras · class_indices.json · norm_params.json · config.json
Model cached on first load (@st.cache_resource) — instant predictions on every subsequent upload.
11

## Slide 12
CHALLENGES & LEARNINGS
What Didn't Work — and Why That Mattered
ResNet50 transfer learning
Achieved only 60–70% accuracy on this dataset — a smaller, purpose-built CNN won out.
Grad-CAM explainability
Descoped after Keras 3 compatibility issues — prioritised a fully explainable pipeline over added complexity.
Domain shift on real-world scans
Out-of-dataset images needed stronger augmentation and the threshold safety-net to stay reliable.
Limited daily GPU access
Solved with Drive checkpointing — training resumed across sessions with zero progress lost.
12

## Slide 13
CONCLUSION
A Deployed, Medically-Reasoned
Classifier
From a 4-model proposal to a single, well-understood CNN — cleaned data, principled normalisation, recall-weighted evaluation, and a live Streamlit app. Every simplification was a deliberate, evidence-based choice, not a shortcut.
FUTURE WORK
→ Three-way train / validation / test split
→ K-fold cross-validation for robustness
→ External-dataset generalisation testing
Brain Tumor Classification Using Deep Learning • Final Presentation